## About
Notes
About
This workbook contains representative-day hourly electricity capacity factors formatted for EPS.
Methodology
1. Solar and wind hourly capacity factors are derived from weather-based profiles and calibrated to observed annual values where data are available.
2. The same six representative timeslices used for SHELF are applied here so demand and supply remain aligned.
3. Utility-scale solar PV maps directly from the calibrated solar capacity factor profile.
4. Distributed solar PV uses the same hourly shape as utility-scale solar, multiplied by a rooftop derate factor.
5. The current distributed PV derate is 0.70, based on an inference from NREL ATB utility-scale vs distributed PV average performance assumptions.
6. Onshore and offshore wind currently use the calibrated wind profile; other non-variable technologies remain template-based unless a specific derivation is added.
7. Coverage and file provenance are documented on the Coverage sheet.
Run Metadata
country: UnitedStates
demand_shape_source: efs
demand_shape_source_year: 2024
demand_shape_source_scenario: Reference/Moderate
Coverage Summary
generated: 4
template_copy: 22

## SYSHECF-hard-coal
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.32637 | 0.30412 | 0.2951 | 0.29311 | 0.29359 | 0.29813 | 0.30145 | 0.31575 | 0.33834 | 0.35104 | 0.34311 | 0.34989 | 0.3431 | 0.33242 | 0.3215 | 0.31051 | 0.30504 | 0.30693 | 0.32201 | 0.33816 | 0.36053 | 0.36974 | 0.36204 | 0.35369
Spring | 0.40378 | 0.36897 | 0.34714 | 0.32738 | 0.31597 | 0.32004 | 0.3353 | 0.3626 | 0.38275 | 0.40194 | 0.40536 | 0.41869 | 0.44013 | 0.45517 | 0.45331 | 0.46242 | 0.46922 | 0.48426 | 0.48973 | 0.49225 | 0.5006 | 0.50577 | 0.4919 | 0.46155
Summer | 0.52903 | 0.49813 | 0.46888 | 0.45064 | 0.43441 | 0.42557 | 0.42239 | 0.42558 | 0.4315 | 0.44851 | 0.48332 | 0.52206 | 0.56856 | 0.61293 | 0.65437 | 0.66449 | 0.67337 | 0.6751 | 0.68505 | 0.67534 | 0.66517 | 0.63316 | 0.58836 | 0.54049
Fall | 0.29242 | 0.28769 | 0.28209 | 0.27298 | 0.26459 | 0.26465 | 0.27318 | 0.29743 | 0.31059 | 0.31502 | 0.3128 | 0.31024 | 0.31722 | 0.32579 | 0.33531 | 0.34026 | 0.34787 | 0.35479 | 0.3704 | 0.40585 | 0.41417 | 0.40377 | 0.39753 | 0.39202
Summer Peak | 0.57809 | 0.55603 | 0.5213 | 0.50318 | 0.50314 | 0.51181 | 0.53327 | 0.55719 | 0.57277 | 0.59128 | 0.62267 | 0.67149 | 0.71332 | 0.76336 | 0.78712 | 0.80649 | 0.81415 | 0.81265 | 0.80499 | 0.80401 | 0.79727 | 0.79188 | 0.76222 | 0.6874
Winter Peak | 0.7936 | 0.77267 | 0.7683 | 0.75934 | 0.76458 | 0.7682 | 0.77981 | 0.79512 | 0.80936 | 0.81805 | 0.81141 | 0.79528 | 0.77983 | 0.77035 | 0.75117 | 0.73568 | 0.7301 | 0.73878 | 0.76557 | 0.79963 | 0.81829 | 0.81998 | 0.81648 | 0.80202

## SYSHECF-steam-turbine
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.3294 | 0.30793 | 0.29819 | 0.29278 | 0.29359 | 0.29875 | 0.31246 | 0.33695 | 0.35727 | 0.35431 | 0.33842 | 0.33283 | 0.32324 | 0.30977 | 0.29785 | 0.29714 | 0.29826 | 0.30836 | 0.33232 | 0.35595 | 0.37334 | 0.37745 | 0.37544 | 0.36645
Spring | 0.35445 | 0.32078 | 0.29362 | 0.27934 | 0.27458 | 0.29017 | 0.3093 | 0.32595 | 0.33104 | 0.34372 | 0.34564 | 0.36337 | 0.38237 | 0.40334 | 0.42539 | 0.44374 | 0.45931 | 0.47137 | 0.47894 | 0.47883 | 0.47418 | 0.46613 | 0.43399 | 0.39251
Summer | 0.48358 | 0.45784 | 0.44104 | 0.42985 | 0.42041 | 0.41691 | 0.41607 | 0.41633 | 0.42259 | 0.43594 | 0.44912 | 0.47437 | 0.50307 | 0.52633 | 0.54354 | 0.55654 | 0.56833 | 0.57149 | 0.57195 | 0.57144 | 0.57047 | 0.5562 | 0.52725 | 0.49655
Fall | 0.32863 | 0.32442 | 0.31441 | 0.30753 | 0.30691 | 0.31009 | 0.32858 | 0.35415 | 0.36691 | 0.35582 | 0.34272 | 0.3376 | 0.33445 | 0.33521 | 0.34543 | 0.35479 | 0.3628 | 0.38233 | 0.40429 | 0.42522 | 0.42061 | 0.41453 | 0.40427 | 0.38371
Summer Peak | 0.5194 | 0.48823 | 0.46974 | 0.45548 | 0.45263 | 0.45577 | 0.47001 | 0.48042 | 0.49345 | 0.51286 | 0.53818 | 0.58051 | 0.61599 | 0.6437 | 0.66252 | 0.672 | 0.6767 | 0.68588 | 0.68808 | 0.68754 | 0.68719 | 0.66913 | 0.63063 | 0.58253
Winter Peak | 0.46503 | 0.46519 | 0.45463 | 0.44995 | 0.45037 | 0.45708 | 0.47535 | 0.50749 | 0.533 | 0.53106 | 0.50202 | 0.47295 | 0.45104 | 0.42508 | 0.39739 | 0.38575 | 0.38944 | 0.4052 | 0.4396 | 0.46167 | 0.47636 | 0.47858 | 0.47024 | 0.45538

## SYSHECF-combined-cycle
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.3294 | 0.30793 | 0.29819 | 0.29278 | 0.29359 | 0.29875 | 0.31246 | 0.33695 | 0.35727 | 0.35431 | 0.33842 | 0.33283 | 0.32324 | 0.30977 | 0.29785 | 0.29714 | 0.29826 | 0.30836 | 0.33232 | 0.35595 | 0.37334 | 0.37745 | 0.37544 | 0.36645
Spring | 0.35445 | 0.32078 | 0.29362 | 0.27934 | 0.27458 | 0.29017 | 0.3093 | 0.32595 | 0.33104 | 0.34372 | 0.34564 | 0.36337 | 0.38237 | 0.40334 | 0.42539 | 0.44374 | 0.45931 | 0.47137 | 0.47894 | 0.47883 | 0.47418 | 0.46613 | 0.43399 | 0.39251
Summer | 0.48358 | 0.45784 | 0.44104 | 0.42985 | 0.42041 | 0.41691 | 0.41607 | 0.41633 | 0.42259 | 0.43594 | 0.44912 | 0.47437 | 0.50307 | 0.52633 | 0.54354 | 0.55654 | 0.56833 | 0.57149 | 0.57195 | 0.57144 | 0.57047 | 0.5562 | 0.52725 | 0.49655
Fall | 0.32863 | 0.32442 | 0.31441 | 0.30753 | 0.30691 | 0.31009 | 0.32858 | 0.35415 | 0.36691 | 0.35582 | 0.34272 | 0.3376 | 0.33445 | 0.33521 | 0.34543 | 0.35479 | 0.3628 | 0.38233 | 0.40429 | 0.42522 | 0.42061 | 0.41453 | 0.40427 | 0.38371
Summer Peak | 0.5194 | 0.48823 | 0.46974 | 0.45548 | 0.45263 | 0.45577 | 0.47001 | 0.48042 | 0.49345 | 0.51286 | 0.53818 | 0.58051 | 0.61599 | 0.6437 | 0.66252 | 0.672 | 0.6767 | 0.68588 | 0.68808 | 0.68754 | 0.68719 | 0.66913 | 0.63063 | 0.58253
Winter Peak | 0.46503 | 0.46519 | 0.45463 | 0.44995 | 0.45037 | 0.45708 | 0.47535 | 0.50749 | 0.533 | 0.53106 | 0.50202 | 0.47295 | 0.45104 | 0.42508 | 0.39739 | 0.38575 | 0.38944 | 0.4052 | 0.4396 | 0.46167 | 0.47636 | 0.47858 | 0.47024 | 0.45538

## SYSHECF-nuclear
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.93514 | 0.9403 | 0.94055 | 0.9409 | 0.94097 | 0.94086 | 0.94114 | 0.94096 | 0.94065 | 0.94071 | 0.93944 | 0.94018 | 0.93997 | 0.93938 | 0.9392 | 0.93889 | 0.93936 | 0.93952 | 0.93993 | 0.93994 | 0.94006 | 0.94064 | 0.93913 | 0.93847
Spring | 0.93856 | 0.93907 | 0.94 | 0.94072 | 0.94099 | 0.94108 | 0.94163 | 0.94072 | 0.93943 | 0.93829 | 0.93768 | 0.93683 | 0.9361 | 0.93601 | 0.9374 | 0.93747 | 0.93695 | 0.93777 | 0.93765 | 0.93779 | 0.93847 | 0.93818 | 0.93776 | 0.93461
Summer | 0.96094 | 0.96167 | 0.96195 | 0.9598 | 0.9585 | 0.9583 | 0.95935 | 0.95933 | 0.95935 | 0.9591 | 0.95819 | 0.95829 | 0.95795 | 0.95623 | 0.95557 | 0.95507 | 0.95439 | 0.95489 | 0.95623 | 0.95733 | 0.95762 | 0.95802 | 0.95859 | 0.95855
Fall | 0.86036 | 0.86277 | 0.86458 | 0.86657 | 0.86736 | 0.86908 | 0.8709 | 0.87199 | 0.87213 | 0.87208 | 0.87171 | 0.87121 | 0.87172 | 0.87198 | 0.87272 | 0.87241 | 0.87316 | 0.87298 | 0.87267 | 0.86904 | 0.86621 | 0.86613 | 0.86675 | 0.86707
Summer Peak | 0.93005 | 0.92881 | 0.92877 | 0.92888 | 0.92938 | 0.92973 | 0.93043 | 0.93044 | 0.93217 | 0.93145 | 0.93097 | 0.9303 | 0.92913 | 0.92847 | 0.92934 | 0.92982 | 0.92987 | 0.9299 | 0.93085 | 0.93189 | 0.93309 | 0.93348 | 0.93424 | 0.93582
Winter Peak | 0.95872 | 0.96238 | 0.9612 | 0.96005 | 0.96017 | 0.96125 | 0.96159 | 0.96139 | 0.96128 | 0.96106 | 0.96092 | 0.96091 | 0.96084 | 0.96055 | 0.96066 | 0.96015 | 0.96008 | 0.96043 | 0.9603 | 0.95999 | 0.96 | 0.95983 | 0.95906 | 0.95887

## SYSHECF-hydro
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.3781 | 0.34447 | 0.31603 | 0.29663 | 0.28626 | 0.28364 | 0.30815 | 0.38428 | 0.45604 | 0.47693 | 0.48983 | 0.44714 | 0.41031 | 0.35962 | 0.33422 | 0.31941 | 0.31859 | 0.33835 | 0.36809 | 0.39784 | 0.44028 | 0.45118 | 0.44768 | 0.42019
Spring | 0.45748 | 0.41808 | 0.37696 | 0.36646 | 0.3583 | 0.34686 | 0.35505 | 0.36516 | 0.3994 | 0.40605 | 0.38803 | 0.37438 | 0.3937 | 0.41096 | 0.42949 | 0.46352 | 0.49454 | 0.52668 | 0.53339 | 0.53449 | 0.54037 | 0.53437 | 0.51251 | 0.49345
Summer | 0.37103 | 0.31757 | 0.28561 | 0.25876 | 0.23037 | 0.21176 | 0.20864 | 0.22284 | 0.23455 | 0.25171 | 0.26125 | 0.28875 | 0.31605 | 0.3667 | 0.42359 | 0.46526 | 0.50161 | 0.53682 | 0.55221 | 0.53221 | 0.49918 | 0.45924 | 0.41842 | 0.3873
Fall | 0.28971 | 0.2673 | 0.24359 | 0.23132 | 0.21562 | 0.23435 | 0.26581 | 0.31816 | 0.32971 | 0.29652 | 0.31702 | 0.31083 | 0.29219 | 0.28269 | 0.27135 | 0.2808 | 0.31215 | 0.35652 | 0.38297 | 0.41451 | 0.43729 | 0.41626 | 0.36695 | 0.3361
Summer Peak | 0.35007 | 0.30971 | 0.26303 | 0.21703 | 0.19279 | 0.18175 | 0.17938 | 0.19254 | 0.21654 | 0.24922 | 0.28215 | 0.31347 | 0.37957 | 0.43739 | 0.49165 | 0.55324 | 0.60203 | 0.64455 | 0.67033 | 0.66537 | 0.61227 | 0.53915 | 0.47714 | 0.42936
Winter Peak | 0.44573 | 0.41689 | 0.37232 | 0.36511 | 0.37033 | 0.37995 | 0.41491 | 0.45543 | 0.51309 | 0.50759 | 0.50141 | 0.47299 | 0.44269 | 0.40109 | 0.37713 | 0.35328 | 0.33823 | 0.37775 | 0.41465 | 0.47164 | 0.47968 | 0.48975 | 0.47395 | 0.42526

## SYSHECF-onshore-wind
eps_label | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.83116 | 0.46805 | 0.28076 | 0.20307 | 0.16738 | 0.14845 | 0.1376 | 0.13086 | 0.12689 | 0.12753 | 0.14438 | 0.20507 | 0.40654 | 0.79807 | 1.3056 | 1.8319 | 2.3148 | 2.6526 | 2.8595 | 2.9772 | 2.9623 | 2.7457 | 2.3499 | 1.8226
Spring | 0.49269 | 0.24705 | 0.14394 | 0.12091 | 0.11615 | 0.11248 | 0.10748 | 0.10121 | 0.094504 | 0.088711 | 0.086984 | 0.10159 | 0.15689 | 0.28823 | 0.50136 | 0.75956 | 1.014 | 1.2251 | 1.3675 | 1.4345 | 1.4076 | 1.2626 | 1.003 | 0.68774
Summer | 0.038157 | 0.016734 | 0.0043333 | 0.00064304 | 0.00018133 | 0.00011316 | 4.1251e-05 | 5.7366e-06 | 2.3337e-09 | 0 | 4.3188e-06 | 0.0003464 | 0.0028914 | 0.0093713 | 0.017788 | 0.025051 | 0.030319 | 0.035194 | 0.042241 | 0.051216 | 0.059131 | 0.062267 | 0.057547 | 0.044692
Fall | 0.0092017 | 0.00046518 | 5.7028e-06 | 4.4547e-06 | 3.7361e-06 | 4.4491e-06 | 5.9931e-06 | 7.1355e-06 | 7.0962e-06 | 6.6974e-06 | 2.1018e-05 | 0.00040373 | 0.0036284 | 0.016338 | 0.043328 | 0.078807 | 0.11424 | 0.14431 | 0.16736 | 0.18253 | 0.18188 | 0.15521 | 0.10898 | 0.057819
Summer Peak | 0.1237 | 0.06231 | 0.023138 | 0.0075073 | 0.0034673 | 0.0022825 | 0.0013806 | 0.00071182 | 0.00034826 | 0.00019754 | 0.00067679 | 0.0048071 | 0.017348 | 0.037214 | 0.057059 | 0.072102 | 0.082315 | 0.093581 | 0.11127 | 0.13395 | 0.15523 | 0.16743 | 0.16293 | 0.13789
Winter Peak | 0.05675 | 0.045905 | 0.04686 | 0.047125 | 0.045798 | 0.04464 | 0.044927 | 0.046446 | 0.048572 | 0.050936 | 0.054046 | 0.060101 | 0.078438 | 0.1286 | 0.24488 | 0.44445 | 0.69926 | 0.94951 | 1.13 | 1.1597 | 1.0116 | 0.74886 | 0.45086 | 0.21595

## SYSHECF-solar-pv
eps_label | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.13936 | 0.063906 | 0.033879 | 0.018361 | 0.0060783 | 0.00055571 | 1.1751e-06 | 0 | 0 | 0 | 0.00055735 | 0.012723 | 0.066915 | 0.17971 | 0.32726 | 0.46889 | 0.58411 | 0.66322 | 0.69829 | 0.68815 | 0.63279 | 0.53607 | 0.40912 | 0.26702
Spring | 0.097234 | 0.040522 | 0.018592 | 0.0064053 | 0.00069892 | 7.6259e-06 | 0 | 0 | 0 | 0 | 6.7183e-05 | 0.00495 | 0.037496 | 0.11776 | 0.24463 | 0.38239 | 0.49719 | 0.57713 | 0.61076 | 0.59783 | 0.53959 | 0.44255 | 0.3222 | 0.19518
Summer | 0.23665 | 0.12635 | 0.058853 | 0.030678 | 0.020311 | 0.01234 | 0.0062877 | 0.0024621 | 0.00083778 | 0.00082093 | 0.0085513 | 0.049789 | 0.14582 | 0.28894 | 0.43857 | 0.56951 | 0.67217 | 0.73982 | 0.76959 | 0.75824 | 0.70751 | 0.6191 | 0.50775 | 0.37597
Fall | 0.054849 | 0.017371 | 0.006067 | 0.0008396 | 1.72e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0006993 | 0.01702 | 0.081885 | 0.20493 | 0.34552 | 0.45722 | 0.52929 | 0.56102 | 0.54723 | 0.48827 | 0.38679 | 0.25884 | 0.13147
Summer Peak | 0.24206 | 0.13441 | 0.06682 | 0.035747 | 0.023597 | 0.014757 | 0.0077633 | 0.0031105 | 0.0010594 | 0.0010075 | 0.0080878 | 0.046281 | 0.13892 | 0.27906 | 0.42674 | 0.55651 | 0.65636 | 0.72179 | 0.74831 | 0.73415 | 0.68094 | 0.59358 | 0.48913 | 0.36635
Winter Peak | 0.0039253 | 0.0011322 | 0.00053532 | 0.00010348 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0012462 | 0.019418 | 0.077242 | 0.16589 | 0.25847 | 0.32492 | 0.35231 | 0.33618 | 0.27978 | 0.19113 | 0.095731 | 0.029571

## SYSHECF-solar-thermal
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.10292 | 0.47892 | 0.61603 | 0.60031 | 0.57296 | 0.55898 | 0.56997 | 0.5866 | 0.58701 | 0.39391 | 0.065778 | 0 | 0 | 0 | 0
Spring | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.035968 | 0.38613 | 0.62785 | 0.70553 | 0.72457 | 0.72608 | 0.72359 | 0.72163 | 0.72911 | 0.72389 | 0.70002 | 0.63057 | 0.4465 | 0.11652 | 0 | 0 | 0
Summer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064984 | 0.16922 | 0.27709 | 0.30036 | 0.359 | 0.39451 | 0.31389 | 0.28491 | 0.33066 | 0.31151 | 0.2636 | 0.19805 | 0.036346 | 0 | 0 | 0
Fall | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19941 | 0.57813 | 0.61576 | 0.58463 | 0.55864 | 0.55705 | 0.56582 | 0.5711 | 0.48647 | 0.16254 | 0 | 0 | 0 | 0 | 0
Summer Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.068158 | 0.15438 | 0.31109 | 0.33777 | 0.39421 | 0.40116 | 0.31396 | 0.33633 | 0.48708 | 0.34328 | 0.31253 | 0.25246 | 0.060526 | 0 | 0 | 0
Winter Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0080097 | 0.39126 | 0.58372 | 0.56922 | 0.53196 | 0.51587 | 0.5371 | 0.57231 | 0.55418 | 0.28691 | 0 | 0 | 0 | 0 | 0

## SYSHECF-biomass
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.64435 | 0.64435 | 0.64435 | 0.64398 | 0.64398 | 0.64435 | 0.64459 | 0.65325 | 0.65655 | 0.65655 | 0.65642 | 0.65181 | 0.65181 | 0.65181 | 0.65181 | 0.65181 | 0.66107 | 0.66107 | 0.66582 | 0.66582 | 0.66582 | 0.66582 | 0.66582 | 0.65655
Spring | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65497 | 0.65497 | 0.65497 | 0.65497 | 0.65497 | 0.66261 | 0.66261 | 0.66424 | 0.66424 | 0.66494 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66478 | 0.65697
Summer | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.66478 | 0.66478 | 0.66478 | 0.66501 | 0.6656 | 0.66582 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66582 | 0.66501 | 0.66478
Fall | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.64561 | 0.64561 | 0.64561 | 0.64561 | 0.64561 | 0.64561 | 0.6537 | 0.6537 | 0.66524 | 0.66524 | 0.66524 | 0.66524 | 0.66524 | 0.65714 | 0.65714
Summer Peak | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66524 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66524 | 0.66478
Winter Peak | 0.64354 | 0.64354 | 0.64354 | 0.64354 | 0.64354 | 0.64428 | 0.64476 | 0.65055 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.65714

## SYSHECF-geothermal
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008
Spring | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008
Summer | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008
Fall | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008
Summer Peak | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008
Winter Peak | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008 | 0.85008

## SYSHECF-petroleum
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.0089712 | 0.0065277 | 0.0064927 | 0.0065626 | 0.0065975 | 0.0067371 | 0.0066673 | 0.0078192 | 0.0084126 | 0.0065626 | 0.0071211 | 0.0081334 | 0.0088315 | 0.006388 | 0.0066324 | 0.0060739 | 0.0060739 | 0.0061088 | 0.0061437 | 0.0074352 | 0.0068767 | 0.0062135 | 0.0063531 | 0.0064927
Spring | 0.062554 | 0.056654 | 0.050685 | 0.048835 | 0.0488 | 0.053094 | 0.062344 | 0.071385 | 0.081857 | 0.10106 | 0.13034 | 0.14532 | 0.15293 | 0.15904 | 0.16148 | 0.17255 | 0.18162 | 0.19178 | 0.2151 | 0.19751 | 0.17352 | 0.16651 | 0.14738 | 0.075644
Summer | 0.011938 | 0.011938 | 0.012148 | 0.012287 | 0.012427 | 0.012427 | 0.012462 | 0.012392 | 0.013579 | 0.014556 | 0.014556 | 0.014975 | 0.026111 | 0.024714 | 0.025762 | 0.025971 | 0.026076 | 0.02625 | 0.025203 | 0.026425 | 0.02646 | 0.023423 | 0.017593 | 0.011834
Fall | 0.0090061 | 0.010996 | 0.010577 | 0.010507 | 0.010682 | 0.033092 | 0.032918 | 0.032987 | 0.023737 | 0.019932 | 0.020002 | 0.019723 | 0.019723 | 0.020316 | 0.025378 | 0.016825 | 0.024086 | 0.024191 | 0.030928 | 0.032603 | 0.031102 | 0.028484 | 0.02831 | 0.014207
Summer Peak | 0.036687 | 0.029043 | 0.020141 | 0.019653 | 0.019792 | 0.019792 | 0.019827 | 0.019583 | 0.020141 | 0.060145 | 0.084894 | 0.092365 | 0.098787 | 0.10874 | 0.10954 | 0.1132 | 0.11875 | 0.1317 | 0.15268 | 0.15576 | 0.13589 | 0.1213 | 0.076377 | 0.041191
Winter Peak | 0.069884 | 0.08479 | 0.08479 | 0.0939 | 0.1176 | 0.14389 | 0.213 | 0.25967 | 0.24634 | 0.22508 | 0.1383 | 0.091562 | 0.0621 | 0.05442 | 0.052116 | 0.052082 | 0.052989 | 0.054665 | 0.056899 | 0.058679 | 0.062135 | 0.050965 | 0.050999 | 0.038817

## SYSHECF-natural-gas-peaker
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.0013135 | 0.0010639 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00099014 | 0.0010664 | 0.0010664 | 0.0010664 | 0.0010664 | 0.0013328 | 0.0013328 | 0.007504 | 0.013326 | 0.0093096 | 0.0041935 | 0.0013328 | 0.0013328
Spring | 0.016032 | 0.016032 | 0.016032 | 0.016032 | 0.016032 | 0.016032 | 0.016032 | 0.016176 | 0.01632 | 0.016032 | 0.016032 | 0.01621 | 0.016259 | 0.016041 | 0.016564 | 0.016205 | 0.016987 | 0.021088 | 0.093912 | 0.098136 | 0.038496 | 0.043248 | 0.012942 | 0.011699
Summer | 0.019571 | 0.019352 | 0.019304 | 0.019304 | 0.019304 | 0.019037 | 0.019037 | 0.019037 | 0.019037 | 0.019037 | 0.019315 | 0.020385 | 0.028916 | 0.051701 | 0.072278 | 0.094061 | 0.11786 | 0.16722 | 0.19489 | 0.16102 | 0.12959 | 0.075814 | 0.036184 | 0.023845
Fall | 0.0013328 | 0.00083936 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.0099274 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.0013328 | 0.0013328 | 0.0015991 | 0.013569 | 0.013391 | 0.017721 | 0.0015991 | 0.0015991 | 0.0010664
Summer Peak | 0.023484 | 0.023046 | 0.02295 | 0.02295 | 0.02295 | 0.02295 | 0.02295 | 0.02295 | 0.02295 | 0.02295 | 0.023506 | 0.025606 | 0.042174 | 0.087214 | 0.12708 | 0.16796 | 0.20452 | 0.24769 | 0.28791 | 0.24788 | 0.17686 | 0.085225 | 0.031259 | 0.018972
Winter Peak | 0.0012942 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.00079999 | 0.0011803 | 0.0013328 | 0.0013328 | 0.0013328 | 0.0013328 | 0.0013328 | 0.0013328 | 0.0097842 | 0.0097842 | 0.0070541 | 0.0070541 | 0.0013328 | 0.0013328

## SYSHECF-offshore-wind
eps_label | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.83116 | 0.46805 | 0.28076 | 0.20307 | 0.16738 | 0.14845 | 0.1376 | 0.13086 | 0.12689 | 0.12753 | 0.14438 | 0.20507 | 0.40654 | 0.79807 | 1.3056 | 1.8319 | 2.3148 | 2.6526 | 2.8595 | 2.9772 | 2.9623 | 2.7457 | 2.3499 | 1.8226
Spring | 0.49269 | 0.24705 | 0.14394 | 0.12091 | 0.11615 | 0.11248 | 0.10748 | 0.10121 | 0.094504 | 0.088711 | 0.086984 | 0.10159 | 0.15689 | 0.28823 | 0.50136 | 0.75956 | 1.014 | 1.2251 | 1.3675 | 1.4345 | 1.4076 | 1.2626 | 1.003 | 0.68774
Summer | 0.038157 | 0.016734 | 0.0043333 | 0.00064304 | 0.00018133 | 0.00011316 | 4.1251e-05 | 5.7366e-06 | 2.3337e-09 | 0 | 4.3188e-06 | 0.0003464 | 0.0028914 | 0.0093713 | 0.017788 | 0.025051 | 0.030319 | 0.035194 | 0.042241 | 0.051216 | 0.059131 | 0.062267 | 0.057547 | 0.044692
Fall | 0.0092017 | 0.00046518 | 5.7028e-06 | 4.4547e-06 | 3.7361e-06 | 4.4491e-06 | 5.9931e-06 | 7.1355e-06 | 7.0962e-06 | 6.6974e-06 | 2.1018e-05 | 0.00040373 | 0.0036284 | 0.016338 | 0.043328 | 0.078807 | 0.11424 | 0.14431 | 0.16736 | 0.18253 | 0.18188 | 0.15521 | 0.10898 | 0.057819
Summer Peak | 0.1237 | 0.06231 | 0.023138 | 0.0075073 | 0.0034673 | 0.0022825 | 0.0013806 | 0.00071182 | 0.00034826 | 0.00019754 | 0.00067679 | 0.0048071 | 0.017348 | 0.037214 | 0.057059 | 0.072102 | 0.082315 | 0.093581 | 0.11127 | 0.13395 | 0.15523 | 0.16743 | 0.16293 | 0.13789
Winter Peak | 0.05675 | 0.045905 | 0.04686 | 0.047125 | 0.045798 | 0.04464 | 0.044927 | 0.046446 | 0.048572 | 0.050936 | 0.054046 | 0.060101 | 0.078438 | 0.1286 | 0.24488 | 0.44445 | 0.69926 | 0.94951 | 1.13 | 1.1597 | 1.0116 | 0.74886 | 0.45086 | 0.21595

## SYSHECF-lignite
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.31837 | 0.30452 | 0.30088 | 0.2987 | 0.30588 | 0.35329 | 0.41177 | 0.41887 | 0.39614 | 0.37077 | 0.34154 | 0.34148 | 0.33627 | 0.32694 | 0.32098 | 0.33153 | 0.39163 | 0.47646 | 0.49187 | 0.50739 | 0.50711 | 0.47655 | 0.4261 | 0.38573
Spring | 0.22303 | 0.19875 | 0.19312 | 0.19312 | 0.19312 | 0.1992 | 0.20224 | 0.22106 | 0.24037 | 0.2634 | 0.28825 | 0.31993 | 0.34617 | 0.36284 | 0.36496 | 0.37236 | 0.38215 | 0.39395 | 0.38707 | 0.41492 | 0.42053 | 0.40639 | 0.32178 | 0.22257
Summer | 0.5276 | 0.49591 | 0.47535 | 0.46604 | 0.47468 | 0.49264 | 0.48866 | 0.50694 | 0.54997 | 0.58712 | 0.63336 | 0.68563 | 0.72975 | 0.75619 | 0.76222 | 0.76389 | 0.76519 | 0.77036 | 0.77542 | 0.77844 | 0.77235 | 0.74601 | 0.66727 | 0.58396
Fall | 0.23826 | 0.23288 | 0.23528 | 0.2343 | 0.23509 | 0.25921 | 0.33297 | 0.34763 | 0.30137 | 0.28415 | 0.28375 | 0.29566 | 0.29767 | 0.29161 | 0.28751 | 0.31833 | 0.41026 | 0.49739 | 0.49536 | 0.50131 | 0.50138 | 0.4648 | 0.42184 | 0.3659
Summer Peak | 0.59446 | 0.55175 | 0.533 | 0.52181 | 0.53266 | 0.54981 | 0.5428 | 0.55726 | 0.6056 | 0.64649 | 0.68158 | 0.73906 | 0.77155 | 0.77968 | 0.78142 | 0.78259 | 0.78469 | 0.78764 | 0.78949 | 0.78698 | 0.78436 | 0.7779 | 0.71926 | 0.63697
Winter Peak | 0.30884 | 0.30055 | 0.30055 | 0.29994 | 0.30569 | 0.3485 | 0.42026 | 0.44555 | 0.43236 | 0.39085 | 0.38074 | 0.38217 | 0.38808 | 0.37936 | 0.37128 | 0.38357 | 0.44676 | 0.56115 | 0.58449 | 0.58164 | 0.57787 | 0.53866 | 0.49342 | 0.45962

## SYSHECF-MSW
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.64435 | 0.64435 | 0.64435 | 0.64398 | 0.64398 | 0.64435 | 0.64459 | 0.65325 | 0.65655 | 0.65655 | 0.65642 | 0.65181 | 0.65181 | 0.65181 | 0.65181 | 0.65181 | 0.66107 | 0.66107 | 0.66582 | 0.66582 | 0.66582 | 0.66582 | 0.66582 | 0.65655
Spring | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65644 | 0.65497 | 0.65497 | 0.65497 | 0.65497 | 0.65497 | 0.66261 | 0.66261 | 0.66424 | 0.66424 | 0.66494 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66478 | 0.65697
Summer | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.6616 | 0.66478 | 0.66478 | 0.66478 | 0.66501 | 0.6656 | 0.66582 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66582 | 0.66501 | 0.66478
Fall | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.64561 | 0.64561 | 0.64561 | 0.64561 | 0.64561 | 0.64561 | 0.6537 | 0.6537 | 0.66524 | 0.66524 | 0.66524 | 0.66524 | 0.66524 | 0.65714 | 0.65714
Summer Peak | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66478 | 0.66524 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66524 | 0.66478
Winter Peak | 0.64354 | 0.64354 | 0.64354 | 0.64354 | 0.64354 | 0.64428 | 0.64476 | 0.65055 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.65714 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.66641 | 0.65714

## SYSHECF-crude-oil
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spring | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Summer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fall | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Summer Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Winter Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SYSHECF-heavy-or-residual-oil
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spring | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Summer | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fall | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Summer Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Winter Peak | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SYSHECF-hard-coal-CCS
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Spring | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Fall | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Winter Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85

## SYSHECF-combined-cycle-CCS
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Spring | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Fall | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Winter Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85

## SYSHECF-biomass-CCS
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Spring | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Fall | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Winter Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85

## SYSHECF-lignite-CCS
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Spring | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Fall | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Summer Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
Winter Peak | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85

## SYSHECF-SMR
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.93514 | 0.9403 | 0.94055 | 0.9409 | 0.94097 | 0.94086 | 0.94114 | 0.94096 | 0.94065 | 0.94071 | 0.93944 | 0.94018 | 0.93997 | 0.93938 | 0.9392 | 0.93889 | 0.93936 | 0.93952 | 0.93993 | 0.93994 | 0.94006 | 0.94064 | 0.93913 | 0.93847
Spring | 0.93856 | 0.93907 | 0.94 | 0.94072 | 0.94099 | 0.94108 | 0.94163 | 0.94072 | 0.93943 | 0.93829 | 0.93768 | 0.93683 | 0.9361 | 0.93601 | 0.9374 | 0.93747 | 0.93695 | 0.93777 | 0.93765 | 0.93779 | 0.93847 | 0.93818 | 0.93776 | 0.93461
Summer | 0.96094 | 0.96167 | 0.96195 | 0.9598 | 0.9585 | 0.9583 | 0.95935 | 0.95933 | 0.95935 | 0.9591 | 0.95819 | 0.95829 | 0.95795 | 0.95623 | 0.95557 | 0.95507 | 0.95439 | 0.95489 | 0.95623 | 0.95733 | 0.95762 | 0.95802 | 0.95859 | 0.95855
Fall | 0.86036 | 0.86277 | 0.86458 | 0.86657 | 0.86736 | 0.86908 | 0.8709 | 0.87199 | 0.87213 | 0.87208 | 0.87171 | 0.87121 | 0.87172 | 0.87198 | 0.87272 | 0.87241 | 0.87316 | 0.87298 | 0.87267 | 0.86904 | 0.86621 | 0.86613 | 0.86675 | 0.86707
Summer Peak | 0.93005 | 0.92881 | 0.92877 | 0.92888 | 0.92938 | 0.92973 | 0.93043 | 0.93044 | 0.93217 | 0.93145 | 0.93097 | 0.9303 | 0.92913 | 0.92847 | 0.92934 | 0.92982 | 0.92987 | 0.9299 | 0.93085 | 0.93189 | 0.93309 | 0.93348 | 0.93424 | 0.93582
Winter Peak | 0.95872 | 0.96238 | 0.9612 | 0.96005 | 0.96017 | 0.96125 | 0.96159 | 0.96139 | 0.96128 | 0.96106 | 0.96092 | 0.96091 | 0.96084 | 0.96055 | 0.96066 | 0.96015 | 0.96008 | 0.96043 | 0.9603 | 0.95999 | 0.96 | 0.95983 | 0.95906 | 0.95887

## SYSHECF-hydrogen-CT
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.0089712 | 0.0065277 | 0.0064927 | 0.0065626 | 0.0065975 | 0.0067371 | 0.0066673 | 0.0078192 | 0.0084126 | 0.0065626 | 0.0071211 | 0.0081334 | 0.0088315 | 0.006388 | 0.0066324 | 0.0060739 | 0.0060739 | 0.0061088 | 0.0061437 | 0.0074352 | 0.0068767 | 0.0062135 | 0.0063531 | 0.0064927
Spring | 0.062554 | 0.056654 | 0.050685 | 0.048835 | 0.0488 | 0.053094 | 0.062344 | 0.071385 | 0.081857 | 0.10106 | 0.13034 | 0.14532 | 0.15293 | 0.15904 | 0.16148 | 0.17255 | 0.18162 | 0.19178 | 0.2151 | 0.19751 | 0.17352 | 0.16651 | 0.14738 | 0.075644
Summer | 0.011938 | 0.011938 | 0.012148 | 0.012287 | 0.012427 | 0.012427 | 0.012462 | 0.012392 | 0.013579 | 0.014556 | 0.014556 | 0.014975 | 0.026111 | 0.024714 | 0.025762 | 0.025971 | 0.026076 | 0.02625 | 0.025203 | 0.026425 | 0.02646 | 0.023423 | 0.017593 | 0.011834
Fall | 0.0090061 | 0.010996 | 0.010577 | 0.010507 | 0.010682 | 0.033092 | 0.032918 | 0.032987 | 0.023737 | 0.019932 | 0.020002 | 0.019723 | 0.019723 | 0.020316 | 0.025378 | 0.016825 | 0.024086 | 0.024191 | 0.030928 | 0.032603 | 0.031102 | 0.028484 | 0.02831 | 0.014207
Summer Peak | 0.036687 | 0.029043 | 0.020141 | 0.019653 | 0.019792 | 0.019792 | 0.019827 | 0.019583 | 0.020141 | 0.060145 | 0.084894 | 0.092365 | 0.098787 | 0.10874 | 0.10954 | 0.1132 | 0.11875 | 0.1317 | 0.15268 | 0.15576 | 0.13589 | 0.1213 | 0.076377 | 0.041191
Winter Peak | 0.069884 | 0.08479 | 0.08479 | 0.0939 | 0.1176 | 0.14389 | 0.213 | 0.25967 | 0.24634 | 0.22508 | 0.1383 | 0.091562 | 0.0621 | 0.05442 | 0.052116 | 0.052082 | 0.052989 | 0.054665 | 0.056899 | 0.058679 | 0.062135 | 0.050965 | 0.050999 | 0.038817

## SYSHECF-hydrogen-CC
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.42295 | 0.41379 | 0.40966 | 0.41039 | 0.42211 | 0.44673 | 0.47581 | 0.47348 | 0.45106 | 0.43693 | 0.41272 | 0.40475 | 0.40363 | 0.40326 | 0.40241 | 0.41002 | 0.45537 | 0.51445 | 0.54916 | 0.56123 | 0.55784 | 0.5355 | 0.50513 | 0.46159
Spring | 0.48126 | 0.45042 | 0.44601 | 0.44519 | 0.45315 | 0.46957 | 0.47588 | 0.48236 | 0.46781 | 0.47663 | 0.50127 | 0.52997 | 0.55525 | 0.57308 | 0.59118 | 0.60386 | 0.61622 | 0.62097 | 0.64948 | 0.6553 | 0.65836 | 0.65398 | 0.59243 | 0.53541
Summer | 0.59321 | 0.54281 | 0.52378 | 0.52084 | 0.52638 | 0.53404 | 0.52466 | 0.53398 | 0.5589 | 0.57637 | 0.61586 | 0.67141 | 0.70219 | 0.71605 | 0.72387 | 0.73253 | 0.74088 | 0.74835 | 0.76888 | 0.77578 | 0.76932 | 0.75653 | 0.70145 | 0.64353
Fall | 0.36821 | 0.36757 | 0.36951 | 0.36862 | 0.37685 | 0.41347 | 0.44398 | 0.4264 | 0.40922 | 0.38571 | 0.38578 | 0.38953 | 0.38823 | 0.3857 | 0.38792 | 0.41105 | 0.44309 | 0.52045 | 0.57931 | 0.57885 | 0.57218 | 0.54506 | 0.50892 | 0.47876
Summer Peak | 0.61806 | 0.54961 | 0.5203 | 0.51591 | 0.52337 | 0.53685 | 0.52521 | 0.53771 | 0.58064 | 0.60962 | 0.64064 | 0.6945 | 0.72061 | 0.73143 | 0.73966 | 0.74113 | 0.74318 | 0.74577 | 0.76918 | 0.77874 | 0.77777 | 0.77295 | 0.71796 | 0.66247
Winter Peak | 0.42995 | 0.42272 | 0.42088 | 0.42346 | 0.43624 | 0.4598 | 0.48437 | 0.49616 | 0.48208 | 0.45823 | 0.43782 | 0.42717 | 0.42899 | 0.43098 | 0.42754 | 0.43322 | 0.48462 | 0.54936 | 0.6051 | 0.60487 | 0.60486 | 0.57662 | 0.55404 | 0.50672

## SYSHECF-solar-pv-dist
eps_label | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.097555 | 0.044734 | 0.023715 | 0.012852 | 0.0042548 | 0.000389 | 8.2255e-07 | 0 | 0 | 0 | 0.00039014 | 0.0089059 | 0.046841 | 0.1258 | 0.22908 | 0.32822 | 0.40888 | 0.46426 | 0.4888 | 0.4817 | 0.44295 | 0.37525 | 0.28638 | 0.18691
Spring | 0.068064 | 0.028366 | 0.013015 | 0.0044837 | 0.00048925 | 5.3381e-06 | 0 | 0 | 0 | 0 | 4.7028e-05 | 0.003465 | 0.026247 | 0.082433 | 0.17124 | 0.26767 | 0.34804 | 0.40399 | 0.42753 | 0.41848 | 0.37771 | 0.30979 | 0.22554 | 0.13663
Summer | 0.16566 | 0.088448 | 0.041197 | 0.021474 | 0.014218 | 0.008638 | 0.0044014 | 0.0017234 | 0.00058644 | 0.00057465 | 0.0059859 | 0.034852 | 0.10208 | 0.20226 | 0.307 | 0.39866 | 0.47052 | 0.51787 | 0.53871 | 0.53077 | 0.49526 | 0.43337 | 0.35543 | 0.26318
Fall | 0.038394 | 0.01216 | 0.0042469 | 0.00058772 | 1.204e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00048951 | 0.011914 | 0.057319 | 0.14345 | 0.24186 | 0.32006 | 0.37051 | 0.39271 | 0.38306 | 0.34179 | 0.27075 | 0.18119 | 0.092027
Summer Peak | 0.16944 | 0.094086 | 0.046774 | 0.025023 | 0.016518 | 0.01033 | 0.0054343 | 0.0021773 | 0.00074161 | 0.00070523 | 0.0056615 | 0.032397 | 0.097242 | 0.19534 | 0.29872 | 0.38956 | 0.45945 | 0.50525 | 0.52381 | 0.5139 | 0.47666 | 0.41551 | 0.34239 | 0.25644
Winter Peak | 0.0027477 | 0.00079252 | 0.00037472 | 7.2437e-05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00087231 | 0.013593 | 0.054069 | 0.11612 | 0.18093 | 0.22745 | 0.24662 | 0.23533 | 0.19584 | 0.13379 | 0.067012 | 0.0207

## SYSHECF-pumped-hydro
Unit: dimensionless (ratio of electricity demand in this hour to annual demand) | Hour0 | Hour1 | Hour2 | Hour3 | Hour4 | Hour5 | Hour6 | Hour7 | Hour8 | Hour9 | Hour10 | Hour11 | Hour12 | Hour13 | Hour14 | Hour15 | Hour16 | Hour17 | Hour18 | Hour19 | Hour20 | Hour21 | Hour22 | Hour23
Winter | 0.087296 | 0.049713 | 0.0056198 | 0 | 0 | 0 | 0 | 0.0046181 | 0.030504 | 0.034662 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8894e-05 | 0.048898 | 0.27814 | 0.32661 | 0.18978 | 0.14963 | 0.12755 | 0.1233
Spring | 0.16759 | 0.14005 | 0.00074151 | 0 | 0.0010364 | 0 | 0.0001431 | 0 | 0 | 0 | 0 | 0 | 0.0066605 | 0.0077316 | 0.010828 | 0.0093924 | 0.059403 | 0.35628 | 0.5358 | 0.452 | 0.46564 | 0.18418 | 0.18 | 0.17983
Summer | 0.029155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.03574 | 0.15496 | 0.34084 | 0.47662 | 0.55462 | 0.59421 | 0.62642 | 0.6979 | 0.58086 | 0.27877 | 0.16181 | 0.10819
Fall | 0.044126 | 0.049963 | 0 | 0 | 0.00047699 | 0.0021378 | 0.0096136 | 0.013338 | 0.00067646 | 0.00032956 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092363 | 0.074068 | 0.39591 | 0.34518 | 0.18487 | 0.18959 | 0.14249 | 0.067351
Summer Peak | 0.05831 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.071479 | 0.28211 | 0.48629 | 0.58802 | 0.63446 | 0.63937 | 0.6649 | 0.76744 | 0.65736 | 0.29086 | 0.1525 | 0.14779
Winter Peak | 0.010251 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0092363 | 0.022115 | 0.058102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0048957 | 0.18816 | 0.10383 | 0.1217 | 0.11926 | 0.075152 | 0.078018

## Coverage
family | file_name | status | source_column | note | output_path
SYSHECF | SYSHECF-hard-coal.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-hard-coal.csv
SYSHECF | SYSHECF-steam-turbine.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-steam-turbine.csv
SYSHECF | SYSHECF-combined-cycle.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-combined-cycle.csv
SYSHECF | SYSHECF-nuclear.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-nuclear.csv
SYSHECF | SYSHECF-hydro.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-hydro.csv
SYSHECF | SYSHECF-onshore-wind.csv | generated | {"mode": "direct", "column": "wind_cf"} | generated from wind_cf | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-onshore-wind.csv
SYSHECF | SYSHECF-solar-pv.csv | generated | {"mode": "direct", "column": "solar_cf"} | generated from solar_cf | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-solar-pv.csv
SYSHECF | SYSHECF-solar-thermal.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-solar-thermal.csv
SYSHECF | SYSHECF-biomass.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-biomass.csv
SYSHECF | SYSHECF-geothermal.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-geothermal.csv
SYSHECF | SYSHECF-petroleum.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-petroleum.csv
SYSHECF | SYSHECF-natural-gas-peaker.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-natural-gas-peaker.csv
SYSHECF | SYSHECF-offshore-wind.csv | generated | {"mode": "direct", "column": "wind_cf"} | generated from wind_cf | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-offshore-wind.csv
SYSHECF | SYSHECF-lignite.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-lignite.csv
SYSHECF | SYSHECF-MSW.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-MSW.csv
SYSHECF | SYSHECF-crude-oil.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-crude-oil.csv
SYSHECF | SYSHECF-heavy-or-residual-oil.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-heavy-or-residual-oil.csv
SYSHECF | SYSHECF-hard-coal-CCS.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-hard-coal-CCS.csv
SYSHECF | SYSHECF-combined-cycle-CCS.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-combined-cycle-CCS.csv
SYSHECF | SYSHECF-biomass-CCS.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-biomass-CCS.csv
SYSHECF | SYSHECF-lignite-CCS.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-lignite-CCS.csv
SYSHECF | SYSHECF-SMR.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-SMR.csv
SYSHECF | SYSHECF-hydrogen-CT.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-hydrogen-CT.csv
SYSHECF | SYSHECF-hydrogen-CC.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-hydrogen-CC.csv
SYSHECF | SYSHECF-solar-pv-dist.csv | generated | {"mode": "direct", "column": "solar_cf", "multiplier": 0.7} | generated from solar_cf with multiplier 0.700 | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-solar-pv-dist.csv
SYSHECF | SYSHECF-pumped-hydro.csv | template_copy |  | copied unchanged from EPS template | C:\Users\RobbieOrvis\Models\Global Electricity File Creator\output\UnitedStates_EFS_test_EPS\SYSHECF\SYSHECF-pumped-hydro.csv

## TimesliceInfo
timeslice | days_represented | hours_in_timeslice | avg_net_load | peak_net_load | dominant_month | dominant_season | timeslice_name | is_pinned_summer | is_pinned_winter | representative_date | eps_label
0 | 30 | 720 | 189261.1109 | 482499.5548 | 3 | other | TS00 | FALSE | FALSE | 2024-04-06 | Winter
1 | 76 | 1824 | 320091.2667 | 512464.8777 | 4 | other | TS01 | FALSE | FALSE | 2024-03-21 | Spring
2 | 159 | 3816 | 409676.5732 | 598955.1712 | 10 | other | TS02 | FALSE | FALSE | 2024-10-15 | Fall
3 | 75 | 1800 | 507616.1081 | 690246.0576 | 7 | summer | TS03 | FALSE | FALSE | 2024-07-10 | Summer
4 | 11 | 264 | 555815.6656 | 708974.1729 | 8 | summer | TS04_PINNED_SUMMER | TRUE | FALSE | 2024-06-29 | Summer Peak
5 | 14 | 336 | 465945.0913 | 619704.107 | 1 | winter | TS05_PINNED_WINTER | FALSE | TRUE | 2024-01-04 | Winter Peak

## EPS_Label_Map
timeslice | eps_label
0 | Winter
1 | Spring
2 | Fall
3 | Summer
4 | Summer Peak
5 | Winter Peak